## Fire Extinguishers
PORTABLE FIRE EXTINGUISHERS MONTHLY INSPECTIONS RECORD
BUSINESS NAME: |  |  |  |  | BUSINESS ADDRESS: | [13 empty] | YEAR:
Fire extinguishers shall be inspected at intervals not exceeding 31 days; persons performing inspections shall not be required to be certified. Periodic inspection of fire extinguishers shall include a check of at least the following items: (1) location in designated place, (2) no obstruction to access or visbility, (3) pressure gauge reading or indicator in the operable range or position, (4) fullness determined by weighing or hefting, (5) condition of tires, wheels, carriage, hose, and nozzle for wheeled extinguishers, and (6) indicator for nonrechargeable extinguishers using push-to-test pressure indicators. Fire extinguishers shall have annual maintenance at intervals not exceeding every 12 months and shall only be performed by qualified and certified professionals.
The provisions above have been compiled from the NFPA 10, "Standard for Portable Fire Extinguishers." Please refer to the standard for more information.
DEVICE | DEVICE | DEVICE | MANUFACTURE | DEVICE | DEVICE | DEVICE | MONTHLY INSPECTION (SIGN/INITIAL) | [11 empty] | COMMENTS/REMARKS
NO. | LOCATION | MANUFACTURER | DATE | SERIAL NO. | SIZE (LB.) | RATING | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | DATE & NAME OF PERSON CONDUCTING REPAIRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Emergency Lighting
EMERGENCY LIGHTING INSPECTION & TEST RECORD
BUSINESS NAME: | [6 empty] | BUSINESS ADDRESS: | [9 empty] | YEAR:
Self-contained emergency lighting unit equipment shall be inspected at intervals not greater than one month; inspections shall ensure the following: (1) pilot lights are functioning and not obviously damaged or obstructed, (2) the terminal connections are clean, free of corrosion, and lubricated when necessary, (3) the terminal clamps are clean and tight as per manufacturer's specifications, and (4) the battery surface is kept clean and dry. Self-contained emergency lighting unit equipment shall be tested at intervals not greater than one month to ensure that the emergency lights will function upon failure of the primary power supply. Self-contained emergency lighting unit equipment shall also be tested at intervals not greater than 12 months to ensure that the unit will provide emergency lighting for a duration equal to the design criterion under simulated power failure conditions. After the (annual) load duration test, the charging conditions for voltage, current and the recovery period shall be tested to ensure that the charging system is functioning in accordance with the manufacturer’s specifications.
The provisions above have been compiled from the Fire Code declared in force by the Government of Alberta. Please refer to the Code for more information.
DEVICE | DEVICE | DEVICE | MONTHLY INSPECTION & TEST (SIGN/INITIAL) | [11 empty] | ANNUAL TEST |  | COMMENTS/REMARKS
NO. | LOCATION | MANUFACTURER | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | MONTH | PASS/FAIL | DATE & NAME OF PERSON CONDUCTING REPAIRS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20